## Slide 1
EPIC 10:56 UTC
MODIS Aqua
13:30 equatorial crossing time
MODIS/Terra&Aqua and EPIC/DSCOVR
MODIS Terra
10:30 equatorial crossing time

## Slide 3
March 22, 2016@10-56-44
Using the EPIC O2 B-band for monitoring vegetation
Yuri Knyazikhin (Boston University) and Alexander Marshak (GSFC)

## Slide 4
RGB image and three bands used for NDVI:
red (680 nm), O2 B-band (688 nm) and NIR (780 nm)
Back-scattering region
4o-12o phase angle
Reduced multiple scattering
@ 688 compared to 680 nm

## Slide 5
NDVI (Normalized Difference Vegetation Index)
The use of the O2 B-band instead of the ‘red’ channel mitigates the effect of atmosphere on remote sensing of surface reflectance because O2 reduces contribution from the radiation scattered by the atmosphere.
The EPIC NDVI is defined as the difference between NIR and ‘red’ channels normalized to their sum
NDVI
780&680
NDVI
780&688

## Slide 6
NDVI (Normalized Difference Vegetation Index)
The use of the O2 B-band instead of the ‘red’ channel mitigates the effect of atmosphere on remote sensing of surface reflectance because O2 reduces contribution from the radiation scattered by the atmosphere.
The EPIC NDVI is defined as the difference between NIR and ‘red’ channels normalized to their sum
NDVI
780&688
Land Cover Map, 10 km

## Slide 7
NDVI (Normalized Difference Vegetation Index)
The use of the O2 B-band instead of the ‘red’ channel mitigates the effect of atmosphere on remote sensing of surface reflectance because O2 reduces contribution from the radiation scattered by the atmosphere.
The EPIC NDVI is defined as the difference between NIR and ‘red’ channels normalized to their sum
NDVI
780&688
Land Cover Map, 10 km
Annual mean LAI
~5.5
~2
~0.1
~2
~0.1

## Slide 8
NDVI (Normalized Difference Vegetation Index)
The use of the O2 B-band instead of the ‘red’ channel mitigates the effect of atmosphere on remote sensing of surface reflectance because O2 reduces contribution from the radiation scattered by the atmosphere.
The EPIC NDVI is defined as the difference between NIR and ‘red’ channels normalized to their sum
NDVI
780&688
MODIS NDVI
March 2016

## Slide 9
NDVI (Normalized Difference Vegetation Index)
The use of the O2 B-band instead of the ‘red’ channel mitigates the effect of atmosphere on remote sensing of surface reflectance because O2 reduces contribution from the radiation scattered by the atmosphere.
The EPIC NDVI is defined as the difference between NIR and ‘red’ channels normalized to their sum
NDVI
780&688
MODIS NDVI
March 2016
NDVI
780&680

## Slide 10
NDVI (Normalized Difference Vegetation Index)
The use of the O2 B-band instead of the ‘red’ channel mitigates the effect of atmosphere on remote sensing of surface reflectance because O2 reduces contribution from the radiation scattered by the atmosphere.
The EPIC NDVI is defined as the difference between NIR and ‘red’ channels normalized to their sum
NDVI
780&680
NDVI
780&688

## Slide 11: Leaf albedo and NDVIs
False Color W(688-551-680)
True Color(680-551-443)
NDVI(780,688)
NDVI(780,680)
Courtesy of
Yuri Knyazikhin
South America: dry season (Sep. 23, 2015)

## Slide 13
Specular reflection
from horizontally oriented ice crystals
in EPIC observations over land
Alexander Marshak (GSFC) and Tamás Várnai (UMBC)
2015-10-28 09:41

## Slide 14
Examples
EPIC images often reveal bright colorful spots near the center of the images.
The spots are of different colors because of a time lag between the images for dif. wavelengths:
- ~3 min dif. between blue and green,
- ~4 min dif. between blue and red,
- 54 s dif. between green and red.

## Slide 15
20160317094607
20151028094609
20151028094609
zoom
20160317094607
zoom

## Slide 16
20160317094607
20160317094609
zoom
20160317094607
20160317094609
zoom

## Slide 17
Latitude and Longitude
Because of the Earth’s axial tilt (23.4o), the subsuns reach the most southern latitude in the S. Hemisphere (~25° S) around Dec 22, while they reach ~25° N around June 22.

## Slide 18
SZA and VZA
VZA
SZA
SEV
SEV = Sun – Earth – Vehicle

## Slide 19
SZA + VZA = SEV
SAA - VAA = ±180
VZA
SZA
SEV
The location of the detected subsuns is very close to the sunglint location

## Slide 20
Deviation from the direction of specular reflection
~90% of all cases have the deviation angle < 1o while ~99% cases < 2o.
The aerodynamic model predicts that a typical tilt angle varies “between 0.5o and a few degrees from weak to strong turbulence.”
from Lynch, 1994

## Slide 21
Number of detected subsuns per day
The averaged number of images per day is ~10.3; thus the frequency of detecting a subsun per image is ~7.7%

## Slide 22
Height of the subsuns
As was detected by POLDER, the clouds that are higher than 5.5 km (~500 hPa) have less horiz. oriented plates than clouds between 3.5 and 5.5 km (~ 500-700 hPa). This is consistent the CALIPSO results: the presence of the horiz. oriented crystals is most frequent between -30oC and -10oC and they are almost nonexistent in ice clouds colder than -30oC.

## Slide 23
Frequency of horizontally oriented crystals
Based on
(i) # of detected subsuns as a function of deviation from a direction of specular reflection;
(ii) average size of a subsun;
(iii) # of subsuns per day and per image;
(iv) fraction of over land pixels between 25S and 25N;
(v) fraction of ice clouds;
we estimated the frequency of horizontally oriented ice crystals as ~3-4%
If crystals are horizontally oriented, there is a very strong specular reflection which increases cloud albedo by ~40% compared to randomly oriented crystals [Yang et al., 2003].

## Slide 25: EPIC Calibration using MODIS and Moon Geogdzhayev (Columbia University) and Marshak (GSFC)
EPIC channel | MODIS Band (Bandwidth)
443 nm | 3 (459-479nm)
551 nm | 4 (545-565nm)
680 nm | 1 (620-670nm)
780 nm | 2 (841-876nm)
MODIS Aqua and Terra L1B 1km reflectance for four EPIC visible and NIR channels. Measurements made between June 2015 and June 2016 are employed.

## Slide 26: Pixel matching
For each EPIC image MODIS pixels are identified as:
scattering angle should match to within 0.5 deg;
temporarily collocated to within 10 min;
spatially collocated to within 25 km radius;
relative std dev. is found for each EPIC pixel using 5x5 pixel neighborhood and for collocated MODIS pixels;
std dev. is used to select the most homogeneous scenes.
Two methods are used to determine calibration factors:
linear regression between EPIC counts and MODIS refls;
mean MODIS/EPIC ratio for MODIS reflectance > 0.6.

## Slide 27: Regression analysis

## Slide 28
MODIS to EPIC ratio

## Slide 29: Seasonal dependence
Seasonal dependence of the regression coefficients derived from M/E ratios for points with relative standard deviation < 0.1

## Slide 30: Error estimates
EPIC Channel | Calibration coefficient | Ratio-regression difference, % | Seasonal variability, %
443 | 8.80E-6 | 2.79 | 2.8
551 | 6.90E-6 | 1.98 | 3.4
680 | 1.00E-5 | 1.01 | 2.84
780 | 1.50E-5 | 0.41 | 3.33
Conclusion
The accuracy of the calibration coefficients to be better than 3%

## Slide 31: O2 bands calibration using Moon
Only one Full Moon event was used for calibration

## Slide 32: O2 bands calibration using Moon
680 MODIS 1.00 x 10-5
688 Moon 2.16 x 10-5
764 Moon 2.52 x 10-5
780 MODIS 1.50 x 10-5
Better than 3%

## Slide 34
Reflectance values for the detected green, blue and red subsuns
R551>R680
R551<R680

## Slide 35
Location in CCD

## Slide 36
Size of the subsuns
The mean value is ~20 or ~4-5 pixels on each side. 9% of all subsuns consists of only 1 pixel, 45% have <10 pixels while 97% have <80 pixels, which is ~1o in the range of deviation from the direction of specular reflection of the horizontally oriented crystals.

## Slide 37
DSCOVR Land Cover Map, 10 km, SIN