## Slide 1
Comparison of AVIRIS spectra with visible EPIC channels over clear and cloudy ocean scenes
Clark Weaver
DSCOVR EPIC and NISTAR STM
October 6-8, 2020 (Virtual)
SCIAMACHY

## Slide 2
SW Broadband radiances from EPIC and CERES over two different scenes:
Cloud-free Ocean and Thick Cloud over Ocean
EPIC provides four SW channels, no spectral information beyond 780 nm.
Use SCIAMACHY to fill in missing spectral information.
Estimate an EPIC broadband SW radiance for these two scene types.
Compare with CERES SW radiance.
Presentation Roadmap

## Slide 3
microns
EPIC 16 May, 2017
OCEAN scenes with COD>60 and
cloud fraction>95%
SCIAMACHY 1 July, 2004
Select spectra over OCEAN with
Cloud Optical depth >60 Cloud fraction > 95%
EPIC pixels compared with SCIAMACHY over thick cloud
SCIAMACHY radiance Wm-2 sr-1 nm-1
EPIC radiance Wm-2 sr-1 nm-1

## Slide 4
microns
EPIC 16 May, 2017
OCEAN scenes with
cloud fraction<1%
SCIAMACHY 1 July, 2004
Select spectra over OCEAN with
Cloud fraction < 1%
EPIC pixels compared with SCIAMACHY over Ocean
SCIAMACHY radiance Wm-2 sr-1 nm-1
EPIC radiance Wm-2 sr-1 nm-1

## Slide 5
EPIC radiance Wm-2 str-1 nm-1
Il = EPIC counts * Kl (calib factor) * Sl (solar flux) / p l = 443, 551, 680, 780 (nm)
SCIAMACHY Broadband SW ( Wm-2 str-1 )
SCIAMACHY BB radiance = Il dl l = 300 nm : 2.0 m
S
SCIAMACHY scaled to EPIC at 4 wavelengths
For each EPIC pixel determine scaling factor F that minimizes difference between
F*SCIAMACHY(l) and EPIC (l) at 443, 551, 680, 780 nm
SCIAMACHY/EPIC BB radiance = F* Il dl l = 300 nm : 2.0 m
S

## Slide 6
SCIAMACHY BB scaled to EPIC
Thick cloud COD>60 Cldfrac>95
Clear Ocean Cldfrac < 1%
CERES flux
* Anisotropy / p
Compare SW Broadband radiances from SCIAMACHY/EPIC and CERES
( Wm-2 str-1 )
( Wm-2 str-1 )
Each point is an EPIC pixel from all images on 16 May, 2017.
The CERES flux is Single Satellite Footprint (SSF) observations within 30 minutes of EPIC pixel.
CERES Anisotropies are Edition 2

## Slide 7
SW Broadband radiances from EPIC and CERES over Clear Ocean and Thick Cloud are not quite co-linear. Further investigation …
Viewing/Illumination geometries for SCIAMACHY and EPIC are different.
Use Vlidort to account for this.
Determine EPIC Broadband for additional scenes: Forest, Grassland, Desert…
COMMENTS

## Slide 8
SCIAMACHY BB scaled to EPIC
Clear Ocean Cldfrac < 1%
CERES flux
* Anisotropy / p
( Wm-2 str-1 )
( Wm-2 str-1 )